## 2020
PRICELIST 2020 |  |  |  | WAGENINGEN UNIVERSITY
only for WUR-clients |  |  |  | CHEMICAL BIOLOGICAL LABORATORY for WUR SOIL CENTRE
Building 100 (Lumen)
Droevendaalsesteeg 3a
6708 PB Wageningen
phone (0317) 48 20 70
pretreatment | price pretreatment each sample | apparatus for analysis | price apparatus for each sample | element / analyse / fraction | price per element for each sample | procedure | number of samples | number of elements | total price
WATER
SAMPLE PRETREATMENT
filter < 0.45 µm | 9.2 | n.a. | n.a. | n.a. | n.a. | n.a. |  |  | 0
WATER ANALYSIS
digest H2SO4/H2O2/Se | 0 | SFA-Nt/Pt | 9.6 | NH4 PO4 | 1.1 | E1408 |  |  | 0
0.01 M CaCl2 and water | 0 | SFA-CaCl2 | 13.3 | NO3+NO2 NH4 Nts PO4 | 1.1 | E1417 |  |  | 0
0.01 M CaCl2 and water | 0 | SFA-P-laag | 0 | P-PO4 (≤ 0,2 mg/l) |  | E1428 | price on demand
0.01 M CaCl2 and water | 0 | SFA-TOC | 13.3 | TOC / DOC (of TC-IC) | 1.1 | E2507 |  |  | 0
water | 0 | FIA | 8.6 | Cl | 1.1 | E1400 |  |  | 0
water | 0 | ICP-AES | 9.3 | Al Ca Cu Fe K Mg Mn Na P S Zn | 1.5 | E1324 |  |  | 0
water (content < 1 mg/l) | 0 | ICP-MS | 15.5 | Al As Ba Cd Co Cr Cu Fe La Li Mn Mo Ni P Pb Sb Sn Sr Ti V | 2.2 | E1319 |  |  | 0
water | 0 | pH-meter | 6.8 | pH | 0 | E0103 |  |  | 0
water | 0 | EC-meter | 6.8 | EC | 0 | E0102 |  |  | 0
water | 0 | titratie-opstelling | 37.8 | alkaliniteit | 0 | E0111 |  |  | 0
water | 0 | TOC-analyser | 9.2 | IC NPOC TC TN | 1.6 | E2511 |  |  | 0
destructie water+deeltjes Aqua Regia (magnetron) | 26.2 | ICP-AES | 9.3 | S | 1.5 | E1013 |  |  | 0
|  | ICP-MS | 15.5 | Al As Cd Cu Fe La Ni P Pb Zn | 2.2 | E1013 |  |  | 0
digestion water+particles persulfate / borate | 29 | SFA-CaCl2 | 0 | NO3+NO2 PO4 | 0 | E1012 |  |  | 0
PLANT MATERIAL
SAMPLE PRETREATMENT
chopping (< 1 cm) | 16.2 | n.a. | n.a. | n.a. | n.a. | n.a. |  |  | 0
drying 70 oC (max. 500 g fresh material) | 6 | n.a. | n.a. | n.a. | n.a. | n.a. |  |  | 0
grinding (cut and dried material) | 5.8 | n.a. | n.a. | n.a. | n.a. | n.a. |  |  | 0
dry matter ( fresh→105 oC), incl. drying | 11.5 | drying oven | 0 | dry matter | 0 |  |  |  | 0
other pretreatment (f.e. peeling) | price on demand
PLANT ANALYSIS
digestion H2SO4/H2O2/Se | 13 | SFA-Nt/Pt | 8.6 | Nt Pt | 1.1 | E1406 |  |  | 0
|  | F-AES | 8.4 | K | 1.1 | E1415 |  |  | 0
total digestion HNO3/HF/H2O2 (microwave) | 30.9 | ICP-AES | 9.3 | Al Ca Cu Fe K Mg Mn Na P S Zn | 1.5 | E1310 |  |  | 0
acid-extractable digestion HNO3/HCl/H2O2 (microwave) | 30.9 | ICP-AES | 9.3 | Al Ca Cu Fe K Mg Mn Na P S Zn | 1.5 | E1361 |  |  | 0
|  | ICP-MS | 15.5 | As Cd Co Cr Mo Ni Pb | 2.2 | E1361 |  |  | 0
extraction H2O | 12.1 | FIA | 8.6 | Cl | 1.1 | E1429 |  |  | 0
determination of F | 42.8 | SFA-F | 0 | F | 0 | E1421 |  |  | 0
determination C/N (macro-170 mg) | 0 | LECO | 19.3 | C N | 1.1 | E0114 |  |  | 0
determination C/N (micro- 3 mg) | 0 | Thermo | 27.8 | C N | 1.1 |  |  |  | 0
moisture content (70 oC→105 oC) | 6.8 | drying oven | 0 | moisture | 0 | E0005 |  |  | 0
SOIL
SAMPLE PRETREATMENT
drying 40 oC | 6 | nvt | nvt | nvt | nvt | nvt |  |  | 0
grinding | 8.7 | nvt | nvt | nvt | nvt | nvt |  |  | 0
grinding 50 µm | 11 | nvt | nvt | nvt | nvt | nvt |  |  | 0
sieving 2mm | 4.2 | nvt | nvt | nvt | nvt | nvt |  |  | 0
dry matter (fresh→105 oC), incl. drying | 11.5 | drying oven | 0 | dry matter | 0 |  |  |  | 0
centrifugation soil moisture (per hour) |  | n.a. |  | n.a. | n.a. | n.a. |  |  | price on demand
SOIL ANALYSIS
Total analysis:
digestion HNO3/HCl (Aqua Regia) | 18.9 | ICP-AES | 9.3 | Al Ca Cr Cu Fe K Mg Mn Na Ni P S Zn | 1.5 | E1307 |  |  | 0
|  | ICP-MS | 15.5 | As Cd Co Cr Cu Mo Ni Pb V | 2.2 | E1314 |  |  | 0
digestion H2SO4/H2O2/Se (without colloid grinding) | 13 | SFA-Nt/Pt | 8.6 | Nt Pt | 1.1 | E1407 |  |  | 0
Bioavailable analysis:
extraction 0.01 M CaCl2 | 11 | pH-meter | 0 | pH | 6.8 | E0104 |  |  | 0
|  | SFA-CaCl2 | 11 | NO3+NO2 NH4 Nts PO4 | 1.1 | E1409 |  |  | 0
|  | SFA-P-laag | 0 | PO4 (≤ 2 mg/kg) |  | E1428 | price on demand
|  | SFA-TOC | 11 | DOC (of TC-IC) | 1.1 | E2508 |  |  | 0
|  | ICP-AES | 9.3 | Al Cu Fe K Mg Mn Na P S Zn | 1.5 | E1301 |  |  | 0
|  | ICP-MS | 15.5 | As Cd Co Cr Cu Ni Pb V Zn | 2.2 | E1317 |  |  | 0
sieving (5 mm) and homogenising | 6.8 | n.a. | n.a. | n.a. | n.a. | n.a. |  |  | 0
extraction 1 M KCl | 16.7 | SFA-H2O/KCl | 8.3 | NO3+NO2 NH4 | 1.1 | E1410 |  |  | 0
dry matter (field moist→105 oC) | 6.8 | drying oven | 0 | dry matter | 0 | E0101 |  |  | 0
extraction 0.43 M HNO3 | 11 | ICP-AES | 9.3 | Al Ca Cr Cu Fe K Mg Mn Na Ni P S Zn | 1.5 | E1306 |  |  | 0
|  | ICP-MS | 15.5 | As Cd Co Cr Cu Ni Pb | 2.2 | E1352 |  |  | 0
extraction ammoniumoxalate/acid-oxalic | 15.7 | ICP-AES | 9.3 | Al Fe Mn P | 1.5 | E1351 |  |  | 0
extraction citraat/dithioniet (NEN-5739) | 15.7 | ICP-AES | 9.3 | Fe (Al Mn P) | 1.5 | E1364 |  |  | 0
P ammonium lactate-acetatic acid (P-Al) | 23 | SFA-Nt/Pt | 0 | PO4 | 0 | E1422 |  |  | 0
P by Bray-method | 24.4 | SFA | 0 | PO4 | 0 | E1423 |  |  | 0
P by Bray en Kurtz-method | 24.4 | SFA | 0 | PO4 | 0 | E1423 |  |  | 0
P by Olsen-method | 24.4 | SFA-CaCl2 | 0 | PO4 | 0 | E1424 |  |  | 0
P in water extract (including weight) | 24.4 | SFA-CaCl2 | 0 | PO4 | 0 | E1425 |  |  | 0
P by Mehlich III | 24.4 | SFA | 0 | PO4 | 0 | E1431 |  |  | 0
Pi-determination (7 time periods) | 181 | ICP-AES (SFA) | 0 | P (PO4) | 0 | E1348 |  |  | 0
Soil characteristic parameters:
extraction H2O | 11 | EC-meter | 0 | EC | 6.8 | E0107 |  |  | 0
particle size distribution (sieve and pipet) | 70 | pipet | 0 | <2 <16 <50 >50 | 18.5 | E0109 |  |  | 0
CEC base saturation actual | 55 | ICP-AES | 0 | cations: Al Ca Fe K Mg Na / CEC | 0 | E1302 |  |  | 0
CEC base saturation potential Bascomb | 53 | ICP-AES | 0 | cations: Ca Mg / CEC | 0 | E1303 |  |  | 0
moisture content (40oC→105oC) | 6.8 | drying oven | 0 | moisture | 0 | E0101 |  |  | 0
loss on ignition | 9.9 | furnace | 0 | organic matter | 0 | E0100 |  |  | 0
determination of C/N (without collid grinding) | 0 | LECO | 19.3 | C N | 1.1 | E0113 |  |  | 0
determination of pH | 17.8 | pH-meter | 0 | pH-CaCl2 pH-H2O pH-KCl | 0 | E0106 |  |  | 0
organic carbon Kurmies (without colloid grinding) | 25.2 | spectrophotometer | 0 | C | 0 | E1413 |  |  | 0
determination of carbonate (volumetric) | 42 | Scheibler | 0 | CO3 + HCO3 | 0 | E0112 |  |  | 0
extraction K - HCl | 26.2 | F-AES | 0 | K | 0 | E1208 |  |  | 0
extraction Mg - NaCl | 26.2 | ICP-AES | 0 | Mg | 0 | E1209 |  |  | 0
TOTAL AMOUNT ANALYSIS | [8 empty] | 0
ADMINISTRATIONCOSTS | each order |  |  |  |  | number |  |  | 0
TOTAL AMOUNT | [8 empty] | 0